## global-attributes
Name | Description | Example | Fixed Value | Compliance checking rules | Convention Providence | Regex check (if required) - AS & JS to populate | Vocabulary - AS & JS to populate
Conventions | NetCDF Conventions being followed | CF-1.6, NCAS-AMF-2.0.0 | CF-1.6, NCAS-AMF-2.0.0 | Exact match | CF
source | Description of instrument | NCAS Energy balance station unit 1 - NR01 radiation sensor |  | Exact match in vocabulary | CF |  | ncas-instrument community-instrument
instrument_manufacturer | Manufacturer of instrument and key sub components | Campbell logger and Hukseflux radiation sensor |  | String: min 2 characters | AMF
instrument_model | Model number of instrument and key sub components | CR5000 logger, NR01 4 component radiation sensor |  | String: min 3 characters | AMF
instrument_serial_number | Serial number of instrument and key sub components | 1399, NR101 - 2413 (SW UP facing 3985, SW DN facing 3984, IR UP facing 3928, IR DN facing 3927) |  | String: min 3 characters | AMF
instrument_software | Name of the native software running the measurement | EB1_logger.cr5 |  | String: min 3 characters | AMF
instrument_software_version | Version number of the native software running the measurement | v1 |  | String: min 2 characters | AMF
creator_name | Full name of the the person who made the file | Barbara Brooks |  | String: min 3 characters | ACDD1.3
creator_email | E-mail address of the person who made the file | barbara.brooks@ncas.ac.uk |  | Valid email | ACDD1.3
creator_url | ORCID URL of the person who made the file | https://orcid.org/0000-0001-8932-9256 |  | Valid URL | ACDD1.3
institution | Institution the maker affliated to | National Centre for Atmospheric Science (NCAS) |  | Exact match in vocabulary | CF |  | Decide VOCAB
processing_software_url | A public URL for the processing software used to process/QC the data. NOTE: this excludes proprietary software. | https://github.com/lecbjb/AMF_DATA/tree/master/matlab |  | Valid URL | AMF
processing_software_version | Version number of the software used to process and QC the data | v1 |  | String: min 2 characters | AMF
calibration_sensitivity | Calibrated sensitivity/measurement range | Calibrated:SW DN facing 09-01-2015, SWUPfacing 09-01-2015, LW DN facing 30-12-2014, LW UP facing 30-12-2014 |  | String: min 5 characters | AMF
calibration_certification_date | Date when the instrument was last calibrated | 2017-06-06T12:00:00 |  | Match: YYYY-MM-DDThh:mm:ss\.\d+ _or_ N/A | AMF
calibration_certification_url | URL to calibration file or certificate | https://github.com/lecbjb/AMF_DATA/tree/master/matlab |  | Valid URL _or_ N/A | AMF
sampling_interval | Time interval between data values in the file | 10 second |  | String: min 2 characters | AMF | <number_greater_than_zero_maybe_decimal><space><word>(microsecond¦millisecond¦second¦minute¦hour¦day¦year)
averaging_interval | Time interval over which each data point are averaged | 5 second |  | String: min 2 characters | AMF
product_version | Version of the data in this file | v1.3 |  | Match: vN.M | ACDD1.3
processing_level | Data product level. Possible values: 0: native, 1: basic QC, 2: high-level QC, 3: product derived from levels 1 and 2 data | 2 |  | Integer | ACDD1.3
last_revised_date | Date file was produced | 2017-06-06T12:00:00 |  | Match: YYYY-MM-DDThh:mm:ss\.\d+ | AMF
project | Full name and acronym of the project | some project |  | String: min 3 characters | ACDD1.3
project_principal_investigator | Full name of project PI | Geraint Vaughan |  | String: min 3 characters | AMF
project_principal_investigator_email | Contact details of the Project PI | geraint.vaughan@manchester.ac.uk |  | Valid email | AMF
project_principal_investigator_url | ORCID URL of the Project PI | https://orcid.org/0000-0002-0885-0398 |  | Valid URL | AMF
licence | Under what licence the data are being made available | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Data usage licence - UK Government Open Licence agreement: http://www.nationalarchives.gov.uk/doc/open-government-licence | Exact match of text to the left | AMF | NOTE - UK spelling ... because it's a UK standard!
acknowledgement | How should use of these data should be acknowledged | Acknowledgement of NCAS as the data provider is required whenever and wherever these data are used | Acknowledgement of NCAS as the data provider is required whenever and wherever these data are used | Exact match of text to the left | ACDD1.3
platform | Name of the platform on which the instrument was deployed | kumasi |  | Exact match in vocabulary | ACDD1.3 |  | Decide VOCAB
platform_type | Type of platform on which the instrument was deployed | stationary_platform |  | Exact match in vocabulary | AMF |  | Decide VOCAB
deployment_mode | Is the instrument deployed on land, sea, or in the air | land |  | One of: land, sea, air, trajectory
title | Name and general description of the data set | Point measurement of 4 components of radiation from the NCAS energy balance station. |  | String: min 10 characters | CF
featureType | Feature Type of measurements (set for each instrument type). | timeSeries |  | Exact match in vocabulary | CF |  | Decide VOCAB
time_coverage_start | Time stamp of the first data point in the file | 2016-07-06T00:00:00 |  | Match: YYYY-MM-DDThh:mm:ss\.\d+ | ACDD1.3
time_coverage_end | Time stamp of the last data point in the file | 2016-07-06T23:59:00 |  | Match: YYYY-MM-DDThh:mm:ss\.\d+ | ACDD1.3
geospatial_bounds | For a point deployment: (latitude longitude) - signed decimal For a bounding box: SW corner, NE corner: (latitude longitude, latitude longitude) - signed decimal | For a point deployment: -111.29N 40.26E For bounding box: -111.29N 40.26E, -110.29N 40.26E |  | String: min 8 characters | ACDD1.3
platform_altitude | Altitude of the deployment position above MSL. Enter Not Applicable for air | 10.35 m |  | Exact match: <number> m | AMF
location_keywords | Comma-separated words to help locate the geographical positon of the deployment site | Ghana, Kumasi, Africa |  | String: min 3 characters | AMF
amf_vocabularies_release | URL to AMF Vocabularies repository | https://github.com/ncasuk/AMF_CVs/releases/tag/v2.0.0 |  | Valid URL | AMF
history | History of the data. Append a time-stamped newline for each stage of re-processing | 2016-07-12T08:21:21 - Data collected. 2016-11-04T09:09 - v0 processed & QC'd 2017-01-01T01:01:01 - v1 Revision due to error in processing. |  | String: min 1 character | CF
comment | Any other text that might be useful. Use "None" if no comment needed. | Line of Sight directional reference: positive values indicate movement away from the instrument, negative towards. User defined scan pattern - all angles with respect instrument. sensor_view_angle of 90 degrees referes to the the sensor looking directly above, 0 looking horizontaly forward wrt instrument, 180 horizontally backward wrt instrument |  | String: min 4 characters | CF

## dimensions-trajectory
Name | Length | units
time | <n> | seconds since 1970-01-01 00:00:00

## variables-trajectory
Variable | Attribute | Value | Compliance checking rules
time
| type | float64
| dimension | time
| units | seconds since 1970-01-01 00:00:00
| standard_name | time
| long_name | Time (seconds since 1970-01-01 00:00:00)
| axis | T
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| calendar | standard
day_of_year
| type | float32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Day of Year
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
year
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Year
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
month
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Month
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
day
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Day
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
hour
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Hour
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
minute
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Minute
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
second
| type | float32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Second
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values

## dimensions-land
Name | Length | units
time | <n> | seconds since 1970-01-01 00:00:00
latitude | 1 | degrees_north
longitude | 1 | degrees_east

## variables-land
Variable | Attribute | Value | Compliance checking rules
time
| type | float64
| dimension | time
| units | seconds since 1970-01-01 00:00:00
| standard_name | time
| long_name | Time (seconds since 1970-01-01 00:00:00)
| axis | T
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| calendar | standard
latitude
| type | float32
| dimension | latitude
| units | degrees_north
| standard_name | latitude
| long_name | Latitude
longitude |  |  | Detect longitudes < -180 OR > 180: WARN: we recommend setting longitudes from -180 to 180
| type | float32
| dimension | longitude
| units | degrees_east
| standard_name | longitude
| long_name | Longitude
day_of_year
| type | float32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Day of Year
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
year
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Year
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
month
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Month
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
day
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Day
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
hour
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Hour
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
minute
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Minute
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
second
| type | float32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Second
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values

## dimensions-air
Name | Length | units
time | <n> | seconds since 1970-01-01 00:00:00
latitude | <n> | degrees_north
longitude | <n> | degrees_east

## variables-air
Variable | Attribute | Value | Compliance checking rules
time
| type | float64
| dimension | time
| units | seconds since 1970-01-01 00:00:00
| standard_name | time
| long_name | Time (seconds since 1970-01-01)
| axis | T
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| calendar | standard
latitude
| type | float32
| dimension | latitude
| units | degrees_north
| standard_name | latitude
| long_name | Latitude
| _FillValue | -1e+20
| axis | Y
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: point
longitude |  |  | Detect longitudes < -180 OR > 180: WARN: we recommend setting longitudes from -180 to 180
| type | float32
| dimension | longitude
| units | degrees_east
| standard_name | longitude
| long_name | Longitude
| _FillValue | -1e+20
| axis | X
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: point
platform_speed_wrt_air
| type | float32
| dimension | time
| units | m s-1
| standard_name | platform_speed_wrt_air
| long_name | Platform speed with respect to air (air speed)
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_course
| type | float32
| dimension | time
| units | degree
| standard_name | platform_course
| long_name | Direction in which the platform is travelling
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_orientation
| type | float32
| dimension | time
| units | degree
| standard_name | platform_orientation
| long_name | Direction in which the platform is pointing
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_speed_wrt_ground
| type | float32
| dimension | time
| units | m s-1
| standard_name | platform_speed_wrt_ground
| long_name | Platform speed with respect to ground (ground speed)
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_pitch_angle
| type | float32
| dimension | time
| units | degree
| standard_name | platform_pitch_angle
| long_name | Pitch Angle
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_pitch_rate
| type | float32
| dimension | time
| units | degree s-1
| standard_name | platform_pitch_rate
| long_name | Pitch Angle Rate of Change
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_roll_angle
| type | float32
| dimension | time
| units | degree
| standard_name | platform_roll_angle
| long_name | Roll Angle
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_roll_rate
| type | float32
| dimension | time
| units | degree s-1
| standard_name | platform_roll_rate
| long_name | Roll Angle Rate of Change
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_yaw_angle
| type | float32
| dimension | time
| units | degree
| standard_name | platform_yaw_angle
| long_name | Yaw Angle
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_yaw_rate
| type | float32
| dimension | time
| units | degree s-1
| standard_name | platform_yaw_rate
| long_name | Yaw Angle Rate of Change
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
altitude
| type | float32
| dimension | time
| units | m
| standard_name | altitude
| long_name | Geometric height above geoid (WGS84).
| _FillValue | -1e+20
| axis | Z
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
day_of_year
| type | float32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Day of Year
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
year
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Year
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
month
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Month
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
day
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Day
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
hour
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Hour
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
minute
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Minute
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
second
| type | float32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Second
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values

## dimensions-sea
Name | Length | units
time | <n> | seconds since 1970-01-01 00:00:00
latitude | <n> | degrees_north
longitude | <n> | degrees_east

## variables-sea
Variable | Attribute | Value | Compliance checking rules
time
| type | float64
| dimension | time
| units | seconds since 1970-01-01 00:00:00
| standard_name | time
| long_name | Time (seconds since 1970-01-01)
| axis | T
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| calendar | standard
latitude
| type | float32
| dimension | latitude
| units | degrees_north
| standard_name | latitude
| long_name | Latitude
| _FillValue | -1e+20
| axis | Y
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
longitude |  |  | Detect longitudes < -180 OR > 180: WARN: we recommend setting longitudes from -180 to 180
| type | float32
| dimension | longitude
| units | degrees_east
| standard_name | longitude
| long_name | Longitude
| _FillValue | -1e+20
| axis | X
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
platform_course
| type | float32
| dimension | time
| units | degree
| standard_name | platform_course
| long_name | Direction in which the platform is travelling
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_orientation
| type | float32
| dimension | time
| units | degree
| standard_name | platform_orientation
| long_name | Direction in which "front" of platform is pointing
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
platform_speed_wrt_ground
| type | float32
| dimension | time
| units | m s-1
| standard_name | platform_speed_wrt_ground
| long_name | Platform speed with respect to ground
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
instrument_pitch_angle
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_pitch_angle
| long_name | Instrument Pitch Angle
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
instrument_pitch_rate
| type | float32
| dimension | time
| units | degree s-1
| standard_name |  | instrument_pitch_rate
| long_name | Instrument Pitch Angle Rate of Change
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
instrument_pitch_minimum
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_pitch_minimum
| long_name | Instrument Pitch Angle Minimum
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: minimum
| coordinates | latitude longitude
instrument_pitch_maximum
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_pitch_maximum
| long_name | Instrument Pitch Angle Maximum
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: maximum
| coordinates | latitude longitude
instrument_pitch_standard_deviation
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_pitch_standard_deviation
| long_name | Instrument Pitch Angle Standard Deviation
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: standard_deviation
| coordinates | latitude longitude
instrument_roll_angle
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_roll_angle
| long_name | Instrument Roll Angle
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
instrument_roll_rate
| type | float32
| dimension | time
| units | degree s-1
| standard_name |  | instrument_roll_rate
| long_name | Instrument Roll Angle Rate of Change
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
instrument_roll_minimum
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_roll_minimum
| long_name | Instrument Roll Angle Minimum
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: minimum
| coordinates | latitude longitude
instrument_roll_maximum
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_roll_maximum
| long_name | Instrument Roll Angle Maximum
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: maximum
| coordinates | latitude longitude
instrument_roll_standard_deviation
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_roll_standard_deviation
| long_name | Instrument Roll Angle Standard Deviation
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: standard_deviation
| coordinates | latitude longitude
instrument_yaw_angle
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_yaw_angle
| long_name | Instrument Yaw Angle
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
instrument_yaw_rate
| type | float32
| dimension | time
| units | degree s-1
| standard_name |  | instrument_yaw_rate
| long_name | Instrument Yaw Angle Rate of Change
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: mean
| coordinates | latitude longitude
instrument_yaw_minimum
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_yaw_minimum
| long_name | Instrument Yaw Angle Minimum
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: minimum
| coordinates | latitude longitude
instrument_yaw_maximum
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_yaw_maximum
| long_name | Instrument Yaw Angle Maximum
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: maximum
| coordinates | latitude longitude
instrument_yaw_standard_deviation
| type | float32
| dimension | time
| units | degree
| standard_name |  | instrument_yaw_standard_deviation
| long_name | Instrument Yaw Angle Standard Deviation
| _FillValue | -1e+20
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
| cell_methods | time: standard_deviation
| coordinates | latitude longitude
day_of_year
| type | float32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Day of Year
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
year
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Year
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
month
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Month
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
day
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Day
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
hour
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Hour
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
minute
| type | int32
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Minute
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values
second
| type | float64
| dimension | time
| units | 1
| standard_name |  | No standard_name: this is intentional
| long_name | Second
| valid_min | <derived from file> | Check against array values
| valid_max | <derived from file> | Check against array values